Question from the Pre-Bid Meeting for RFP 2026-08 Walker County Ag Extension Building Renovation:

- There were some questions about accessing the project on the south end.  The County does own a strip there and we can use it for access.  I have spoken with the City of LaFayette and they are willing for us to use it as well, if we coordinate it with them.

- Gutters: contractor will remove the existing gutters for painting, and the county will have the gutters re-installed.

- Wall Cap: the existing wall cap will be left in place and painted to match.

- Exterior Lights: the existing exterior lights will be removed by the contractor and the county will install new ones.

- Jon Pursley will check on the phone line on the east side and see if it can be removed.

- Flower beds will remain as they are; no painting or masonry work to be done there.

- There will be no building permit fees applied to the project.  We just ask that the contractor coordinate the work through Jon’s office.

- Job site restrooms: after further discussion, we will require the contractor to furnish port a potty for the project.  Interior restroom will not be available.

- Jon will coordinate having the power disconnected from the building when it is required.

- The bid documents stated that there were 29 small windows.  There are actually 30 small windows and the 1 big window.